Oceanside Fire Requirements

Community Development Department 

Planning Division
TO:
Project Planning

FROM:
Anne Marie Bland

Plans Examiner

DATE:
July 9, 2018
SUBJECT:
RC18-00008

303 Eaton Street

New SFD
Fire Department Conditions of Approval
1. Smoke and carbon monoxide alarms required on all levels in locations per California Residential Code.

2. Minimum four inches high building address numbers must be located on the dwelling and visible from Holly Street.
