Water Utilities Project Comments & Conditions

Date:
October 10, 2018


Planner:
Robert Dmohowski, Associate Planner
From: 
Mabel Uyeda, Senior Engineer and Ray Hahn, Water Utilities Consultant
RE:
303 Eaton St Single Family Remodel with ADU - Submittal #1

RC18-00008
STATUS: APPROVED WITH THE FOLLOWING CONDITIONS
General conditions:

W01. For developments requiring new water service or increased water service to a property, the landowner must enter into an agreement with the City providing for landowner’s assignment of any rights to divert or extract local groundwater supplies for the benefit of the property to receive new or increased water service, in return for water service from the City, upon such terms as may be provided by the Water Utilities Director.

W02. All existing active and non-active groundwater wells must be shown on conceptual and precise grading or improvement plans.
W03. The developer will be responsible for developing all water and sewer utilities necessary to develop the property. Any relocation of water and/or sewer utilities is the responsibility of the developer and shall be done by an approved licensed contractor at the developer’s expense.
W04. All Water and Wastewater construction shall conform to the most recent edition of the Water, Sewer, and Recycled Water Design and Construction Manual or as approved by the Water Utilities Director.
W05. The property owner shall maintain private water and wastewater utilities located on private property.
W06. Water services and sewer laterals constructed in existing right-of-way locations are to be constructed by an approved and licensed contractor at developer’s expense.
W07. Each new residential dwelling unit shall be metered individually.
W08. If fire sprinkler system is required by the Fire Department, then a dual check valve after the water meter must be installed.

The following conditions shall be met prior to the approval of engineering design plans.
W09. Any water and/or sewer improvements required to develop the proposed property will need to be included in the improvement/precise grading plans and designed in accordance with the Water, Sewer, and Recycled Water Design and Construction Manual.
W010. Verify existing water service, water meter size, and location of sewer lateral prior to showing on engineering design plans. 
W011. If the existing water service connection is inadequate, then the Owner/Developer will be required to abandon the existing water service and hire a City-approved licensed contractor to construct a new one. This shall be shown on the engineering design plans.
W012. Show any proposed or abandoned water services and sewer laterals on the engineering design plans.
W013. Provide stationing and offsets for existing and proposed water service connections and sewer laterals on engineering design plans.
W014. Any unused water services or sewer laterals by the proposed development or redevelopment, shall be abandoned in accordance with Water Utilities requirements.
The following conditions of approval shall be met prior to building permit issuance.
W015. Show location and size of existing and/or proposed water meter(s) on site plan of building plans. 
W016. Show location and size of existing and/or proposed sewer laterals from property line to existing dwelling unit.
W017. Show proposed size and location of private sub-meter for each residential unit on building plans. Location of private sub-meters are to be located such that they can be read and maintained without entering the premises.

W018. Provide table of fixture count and flow calculations per the latest adopted California Plumbing Code to size water meter and service lines on building plans.

W019. If a larger water meter is required, then the incremental increase in water and sewer buy-in fees between the existing and proposed meter sizes will be charged. 
W020. Water and Wastewater Buy-in fees and the San Diego County Water Authority Fees are to be paid to the City at the time of Building Permit issuance per City Code Section 32B.7.

PAGE  
Page 1 of 2

