# Oceanside Building Division

# Community Development Department

# TO:	Project Planning

# FROM:	Building Division

# DATE:	July 5, 2018

# SUBJECT: RC18-00008	303 EATON ST PROPOSED FAMILY PRIMARY DWELLING UNIT AND ADDITON OF AN ATTACHED ADU. EXISTING PDU AREA: 996SF HABITABLE AND 457 SF GARAGE. PROPOSED: 1,695 PDU 775 SF ADU SF GARAGE.

BUILDING DIVISION CONDITIONS:

2016 Triennial Edition of California Code of Regulations (CCR), Title 24

The 2016 triennial edition of the California Code of Regulations, Title 24 (California Building Standards Code) applies to all occupancies that applied for a building permit on or after January 1, 2017, and remains in effect until the effective date of the 2019 triennial edition which will be January 1, 2020. The California Building Standards Commission website at

http://www.bsc.ca.gov/codes.aspx has links to where the codes can be viewed online as well as information on where the codes can be purchased; Parts 6, 11, and 12 can be directly downloaded for free.

There are 12 parts to Title 24 and the applicable parts for most Building Division permit applications are listed below.

Part 2: The 2016 California Building Code (CBC).

Part 2.5: The 2016 California Residential Code (CRC).

Part 3: The 2016 California Electrical Code (CEC).

Part 4: The 2016 California Mechanical Code (CMC).

Part 5: The 2016 California Plumbing Code (CPC).

Part 6: The 2016 California Energy Code

The 2016 CA Energy Code is based on the 2016 Building Energy Efficiency Standards, please visit the California Energy Commission website at http://www.energy.ca.gov/title24/2016standards/ where additional information can be found and Compliance manuals can be downloaded for free. Also check www.EnergyCodeAce.com for helpful information on how to meet the requirements of Title 24, Part 6.

Part 9: The 2016 California Fire Code (CFC)

Part 11: The 2016 California Green Building Standards Code (CALGreen Code) This Part is known as the California Green Building Standards Code, and it is intended that it shall also be known as the CALGreen Code.

1)      The building plans for this project shall be prepared by a licensed

Design professional, architect or engineer and shall be in compliance with this requirement prior to submittal for building plan review.

2)       The building plan submittal shall include documentation for construction waste management per 2016 CALGreen section 4.408 Construction Waste Reduction, Disposal and Recycling. Documentation must be provided and the plans must be clearly noted as to which method in section 4.408 will be used, see section 4.408.5 Documentation.

3)        4.503.1 Any installed gas fireplace shall be a direct-vent sealed-combustion type. Any installed woodstove or pellet stove shall comply with U.S. EPA New Source

Performance Standards (NSPS) emission limits as applicable, and shall have a permanent label indicating they are certified to meet the emission limits. Woodstoves, pellet stoves and fireplaces shall also comply with applicable local ordinances.

4)       4.406.1 Rodent proofing. Annular spaces around pipes, electric cables, conduits or other openings in plates at exterior walls shall be protected against the passage of rodents by closing such openings with cement mortar, concrete masonry or similar method acceptable to the enforcing agency.

5)       Compliance with the Federal Clean Water Act (BMP’s) shall be demonstrated on the plans.

6)      A complete Soils Report, Structural Calculations, & Energy Calculations/documentation shall be required at time of plans submittal to the Building Division for plan check.

7)      All construction existing and new shall be within the property lines of 303 Eaton.

8)      A form or foundation survey shall be required prior to the placement of concrete to show the location of the new structure in respect to the property lines, known easements, and known setback lines. By obtaining a form survey the location of the foundation is checked prior to the placement of concrete, and can save costly corrective measures in case of an encroachment of a property line.

9)          The developer shall monitor, supervise and control all building construction and supportive activities so as to prevent these activities from causing a public nuisance, including, but not limited to, strict adherence to the following:

a)      Building construction work hours shall be limited to between 7 a.m. and 6 p.m. Monday through Friday, and on Saturday from 7 a.m. to 6 p.m. for work that is not inherently noise-producing. Examples of work not permitted on Saturday are concrete and grout pours, roof nailing and activities of similar noise-producing nature. No work shall be permitted on Sundays and Federal Holidays (New Year’s Day, Memorial Day, July 4th, Labor Day, Thanksgiving Day, Christmas Day) except as allowed for emergency work under the provisions of the Oceanside City Code Chapter 38 (Noise Ordinance).

b)      The construction site shall be kept reasonably free of construction debris as specified in Section 13.17 of the Oceanside City Code. Storage of debris in approved solid waste containers shall be considered compliance with this requirement. Small Amounts of construction debris may be stored on site in a neat, safe manner for short periods of time pending disposal