Application Review Committee

Division Comments- ENGINEERING

Development Services Department

300 N. Coast Hwy, Oceanside, CA 92054   | (760) 435-4373

To be filled out by Project Planner

Project/property address and/or APN: 3460 Mission Avenue

Project description: Proposed Mixed-Use Development Plan consisting of a 300 key resort hotel, hotel conference buildings, a surf lagoon and beach club, and 11 commercial buildings totaling approximately 126,000 square feet of office, retail and restaurants and 700 multi-family residential dwelling units on approximately an approximately 92-acre site located at the northeast corner of Foussat Road and Highway 76.

To be filled out by ARC Division Reviewer

☐  1st    ☐  2nd    ☐  3rd    ☒  4th   Review

Staff member: Paul Pham

Phone number: 760-435-5083

E-mail: ppham@oceansideca.org

☐ Approved w/Conditions

☐ Returned for Corrections – 15 Days

☒ Returned for Corrections – 30 Days

(include attachments/forms on TRAKiT, if applicable):

[insert/paste comments in Times New Roman, 13 pt font, numbered, 1.5 spacing]

It appears that none of ENG’s previous comments were addressed, and the development plan appears to be generally the same as the previous plan submittal.  Below are the same comments from the last review.

- The ROW/property boundary lines are difficult to identify on the plans.  Consider providing a callout to clearly identify these boundaries.

- Pedestrian ramps that are meant to be publicly maintained need to be located entirely within the ROW.  There are four proposed ped ramps at the intersection of Foussat Road and Old Foussat Road that are not entirely within the ROW.

3.	Clearly identify ownership of existing onsite and offsite SD infrastructure (pipes, culverts, ditches, channels, etc…) that the project proposes to tie into for stormwater conveyance.  It was not clear on the plans that the project proposes to tie into a CALTrans SD system at several locations.

4.	2nd Request:  The north side of Mission Avenue shall be developed with PCC curb and gutter and ADA sidewalks in areas that are missing these items.  The improvements will connect to the existing improvements near Fire Station 7 to the west and continue east towards Fireside Street.  Please show these proposed developments on the plans and provide a “proposed” street cross-section of Mission Avenue.

5.	The proposed sidewalk design along Mission Avenue lacks information and it is not clear what is going on, see sheet 5 for example.  Please provide an overall plan view showing the existing and proposed sidewalk and curb and gutter segments along Mission Avenue, and identify all existing improvements such as bus shelters and bridge columns that affect the layout/create a meandering of the sidewalk.

6.	There are existing overhead utility lines that run parallel along the eastern project boundary and a curb cut located along Mission Avenue for access to said overhead utility lines, that will need to be identified on the plans.

7.	Sheet 2 of the development plan:  ROW dedication callout #48, please verify that this has not already been dedicated based on information provided via email to Greg Shields on 4/10/20.

8.	Sheet 10, proposed basin west of the wave pool:  A proposed SD pipe erroneously has a callout to connect to an existing 24-inch SD pipe; it should be an existing CALTrans 60-inch SD pipe.

9.	Please provide pad elevation information on the grading plans.  This is required for approval of the tentative map.