Oceanside Building Division

Community Development Department

TO:	Project Planning

FROM:	Building Division

DATE:	July 2, 2019

SUBJECT: ACUP19-00003 UEI COLLEGE

BUILDING DIVISION CONDITIONS:

2016 Triennial Edition of California Code of Regulations (CCR), Title 24

The 2016 triennial edition of the California Code of Regulations, Title 24 (California Building Standards Code) applies to all occupancies that applied for a building permit on or after January 1, 2017, and remains in effect until the effective date of the 2019 triennial edition which will be January 1, 2020.

Beginning on January 1, 2020, Oceanside Development Services (ODS) is required by State law to enforce the 2019 Edition of California Building Standards Codes (a.k.a., Title 24 of the California Codes of Regulations).

Every three years, the State adopts new model codes (known collectively as the California Building Standards Code) to establish uniform standards for the construction and maintenance of buildings, electrical systems, plumbing systems, mechanical systems, and fire and life safety systems. Sections 17922, 17958 and 18941.5 of the California Health and Safety Code require that the latest edition of the California Building Standards code and Uniform Housing Code apply to local construction 180 days after publication.

There are 12 parts to Title 24 and the applicable parts for most Building Division permit applications are listed below.

- Part 2: The 2019 California Building Code (CBC).

- Part 2.5: The 2019 California Residential Code (CRC).

- Part 3: The 2019 California Electrical Code (CEC).

- Part 4: The 2019 California Mechanical Code (CMC).

- Part 5: The 2019 California Plumbing Code (CPC).

- Part 6: The 2019 California Energy Code

- Part 9: The 2019 California Fire Code (CFC)

- Part 11: The 2019 California Green Building Standards Code (CALGreen Code) This Part is known as the California Green Building Standards Code, and it is intended that it shall also be known as the CALGreen Code.

All architects, engineers, designers, developers, owners and contractors MUST be familiar with the codes in effect at the time of plan submittal. ODS, as required by State law, CANNOT approve projects that do not comply with the codes in effect at the time of plan submittal. All projects submitted before or on December 31, 2019 are permitted to comply with the 2016 Edition of the California Building Standards Code.

- The granting of approval under this action shall in no way relieve the applicant/project from compliance with all Current State and local building codes.

- A Tenant Improvement permit issued by the Building Division is required for the UEI College – Adult Vocational School.

2)      The building plans for this project shall be prepared by a licensed architect or engineer.

3)      Site development, parking, access into buildings and building(s) interiors shall comply WITH ALL CURRENT State of California Accessibility Code.

4)       Short-term bicycle parking. Provide permanently anchored bicycle racks within 200 feet of the visitors' entrance, readily visible to passers-by, for 5% of new visitor motorized vehicle parking spaces being added, with a minimum of one two-bike capacity rack. CGBSC 5.106.4.1.1.

5)        City of Oceanside Enforces the 2016 California Green Building Standards Code.  A Construction Waste Management Plan shall be required at time of plans submittal to the Building Division for plan check.

5.408.1 Construction waste diversion.  Recycle and/or  salvage  for reuse a minimum of 65 percent of the nonhazardous construction and demolition  waste  in  accordance  with  Section  5.408.1.1,  5.408.1.2  or 5.408.1.3; or meet a local construction and demolition waste management ordinance, whichever is more stringent.

5.408.1.1 Construction waste management plan. Where a local jurisdiction does not have a construction and demolition waste management ordinance that is more stringent, submit a construction waste management plan that:

1. Identifies the construction and demolition waste materials to be diverted from disposal by efficient usage, recycling, reuse on the project or salvage for future use or sale.

2. Indicates if construction and demolition waste materials will be sorted on-site (source-separated) or bulk mixed (single stream).

3. Identifies diversion facilities where construction and demolition waste material collected will be taken.

4. Specifies that the amount of construction waste and demolition materials diverted shall be calculated by weight or volume, but not by both.

6)       Compliance with the Federal Clean Water Act (BMP’s) shall be demonstrated on the plans.

7)       All outdoor lighting shall meet Chapter 39 of the City Code (Light Pollution Ordinance) and shall be fully shielded.

8)          The developer shall monitor, supervise and control all building construction and supportive activities so as to prevent these activities from causing a public nuisance, including, but not limited to, strict adherence to the following:

a)      Building construction work hours shall be limited to between 7 a.m. and 6 p.m. Monday through Friday, and on Saturday from 7 a.m. to 6 p.m. for work that is not inherently noise-producing. Examples of work not permitted on Saturday are concrete and grout pours, roof nailing and activities of similar noise-producing nature. No work shall be permitted on Sundays and Federal Holidays (New Year’s Day, Memorial Day, July 4th, Labor Day, Thanksgiving Day, Christmas Day) except as allowed for emergency work under the provisions of the Oceanside City Code Chapter 38 (Noise Ordinance).

b)      The construction site shall be kept reasonably free of construction debris as specified in Section 13.17 of the Oceanside City Code. Storage of debris in approved solid waste containers shall be considered compliance with this requirement. Small Amounts of construction debris may be stored on site in a neat, safe manner for short periods of time pending disposal