Oceanside Fire Requirements

Community Development Department

Planning Division

TO:	Project Planning

FROM:	Anne Marie Bland

Plans Examiner

DATE:	May 1, 2013

SUBJECT:	GPA 13-00002, ZA 13-00002, T 13-00001

D13-00006, H13-00004

Mission/Academy

*Applicant must submit revised plans to the Fire Department

The tentative map/development/project shall reflect all requested changes and those changes shall be resubmitted for review and approval by the Fire Department prior to the Planning Commission’s consideration.

General conditions

Fire Prevention Requirements:

- All residential units must be fire sprinklered.

- Three story multi-family units must be equipped with fire alarm system with occupant notification.

- Public roadways must comply city engineering standards.

- Private roadways must be minimum 28 ft wide with no parking either side, 32 ft with parking one side and 36 ft with parking each side.

- Fire hydrants required per city standard.