Oceanside Fire Requirements

Community Development Department

Planning Division

TO:	Project Planning

FROM:	Anne Marie Bland

Plans Examiner

DATE:	February 6, 2017

SUBJECT:	RZA1700001

522 N. Tremont

New single family dwelling

Fire Department Final Conditions of Approval.

- Units must be fire sprinklered with a system complying with NFPA 13D.  Sprinkler plans must be reviewed by the fire department prior to installation of the systems.

- Minimum four inches high building address numbers located on the buildings and visible from Tremont Street required.