Oceanside Fire Requirements

Community Development Department

Planning Division

TO:	Project Planning

FROM:	Anne Marie Bland

Plans Examiner

DATE:	August 6, 2018

SUBJECT:	T17-00001

506, 516, 526 S. Cleveland

Three Buildings

Seven unit R-2 occupancy each building

Fire Department Conditions of Approval:

- Each building must be provided with fire service connection. Fire service DCDA with FDC must be located on Cleveland Street.

- Fire sprinkler monitoring system/fire alarm system required.

- Fire sprinkler DCDA and fire department connection may not be obstructed by hardscape or landscape planting.

- Minimum six inches high building address numbers required to be located on the building so that they are visible from Cleveland Street.

- Provide fire department ladder access to required rescue windows.  Identify rescue windows on the site plan.