Oceanside Fire Requirements

Community Development Department

Planning Division

TO:	Project Planning

FROM:	Anne Marie Bland

Plans Examiner

DATE:	August 6, 2018

SUBJECT:	T17-00001

506, 516, 526 S. Cleveland

Three Buildings

Seven unit R-2 occupancy each building

Fire Department Conditions of Approval:

- Each building must be provided with fire service connection. Fire service DCDA may be located in the alley.   FDC must be located on Cleveland Street side of the building within 40 feet of the public fire hydrant.

- Fire sprinkler monitoring system/fire alarm system required.

- Fire sprinkler DCDA and fire department connection may not be obstructed by hardscape or landscape planting.

- Minimum six inches high building address numbers required to be located on the building so that they are visible from Cleveland Street.

- Provide fire department ladder access to required rescue windows.  Identify rescue windows on the site plan.