Oceanside Building Division

Community Development Department

TO:	Project Planning

FROM:	Building Division

DATE:	August 2, 2018

SUBJECT:	506 S. Cleveland St.

T17-00001 CLEVELAND ST.  21 / 21 UNIT 3 STORY TOWNHOME PROJECT

BUILDING DIVISION CONDITIONS:

1)          The granting of approval under this action shall in no way relieve the applicant/project from compliance with all Current State and local building codes.

2016 Triennial Edition of California Code of Regulations (CCR), Title 24

The 2016 triennial edition of the California Code of Regulations, Title 24 (California Building Standards Code) applies to all occupancies that applied for a building permit on or after January 1, 2017, and remains in effect until the effective date of the 2019 triennial edition which will be January 1, 2020. The California Building Standards Commission website at

http://www.bsc.ca.gov/codes.aspx has links to where the codes can be viewed online as well as information on where the codes can be purchased; Parts 6, 11, and 12 can be directly downloaded for free.

There are 12 parts to Title 24 and the applicable parts for most Building Division permit applications are listed below.

- Part 2: The 2016 California Building Code (CBC).

- Part 2.5: The 2016 California Residential Code (CRC).

- Part 3: The 2016 California Electrical Code (CEC).

- Part 4: The 2016 California Mechanical Code (CMC).

- Part 5: The 2016 California Plumbing Code (CPC).

- Part 6: The 2016 California Energy Code

The 2016 CA Energy Code is based on the 2016 Building Energy Efficiency Standards, please visit the California Energy Commission website at http://www.energy.ca.gov/title24/2016standards/ where additional information can be found and Compliance manuals can be downloaded for free. Also check www.EnergyCodeAce.com for helpful information on how to meet the requirements of Title 24, Part 6.

- Part 9: The 2016 California Fire Code (CFC)

- Part 11: The 2016 California Green Building Standards Code (CALGreen Code) This Part is known as the California Green Building Standards Code, and it is intended that it shall also be known as the CALGreen Code.

- Amendments to the City of Oceanside Administrative Code for Building Regulations

2)      The building plans for this project are required by State law to be prepared by a licensed architect or engineer and must be in compliance with this requirement prior to submittal for building plan review.

3)      Compliance with the Federal Clean Water Act (BMP’s) shall be demonstrated on the plans.

4)      Separate/unique addresses may be required to facilitate utility releases.  Verification that the addresses have been properly assigned by the City’s Planning Division shall accompany the Building Permit application.

4)      Site development, parking, access into buildings and building interiors shall comply WITH ALL CURRENT State of California Accessibility Code where required.

5)      All electrical, communication, CATV, etc. service lines within the exterior lines of the property shall be underground (City Code Sec. 6.30).

6)      A complete set of Soil Reports, Structural Calculations, Energy Calculations, & California Title 24 Energy Form(s) shall be required at time of plans submittal to the Building Division for plan check.

7)  The 2016 California Energy Code requires rooftop solar zones.   The requirements for solar ready buildings are mandatory measures for newly constructed single family residences and low-rise multifamily residential buildings.  Plans must be submitted with the minimum required solar zones indicated on each required structure.  2016 California Energy Code, Section 110.10 A-D.

8)  A form or foundation survey shall be required prior to the placement of concrete to show the location of the new structure in respect to the property lines, known easements, and known setback lines. By obtaining a form survey the location of the foundation is checked prior to the placement of concrete, and can save costly corrective measures in case of an encroachment of a property line.

9)   4.406.1 Rodent proofing. Annular spaces around pipes, electric cables, conduits or other openings in plates at exterior walls shall be protected against the passage of rodents by closing such openings with cement mortar, concrete masonry or similar method acceptable to the enforcing agency.

10)  Construction waste management. Recycle and/or salvage for reuse a minimum of 65% of the nonhazardous construction and demolition waste in accordance with either

CAL Green  Section  4.408.2  Waste  Management  Plan,  4.408.3  Waste  Management

Company or 4.408.4  Waste  Stream  Reduction  Alternative.  A  City approved waste

management  company/hauler  shall  be  used  for  recycling  of  construction  waste.

Documentation of compliance with Section 4.408.1 shall be provided to the Authority

Having Jurisdiction prior to project final approval.

11)    4.410.1 Operation and maintenance manual.  At the time of final inspection, an operation and maintenance manual shall be provided to the building occupant or owner.

12)        4.503.1 Any installed gas fireplace shall be a direct-vent sealed-combustion type. Any installed woodstove or pellet stove shall comply with U.S. EPA New Source

Performance Standards (NSPS) emission limits as applicable, and shall have a permanent label indicating they are certified to meet the emission limits. Woodstoves, pellet stoves and fireplaces shall also comply with applicable local ordinances.

13)      The developer shall monitor, supervise and control all building construction and supportive activities so as to prevent these activities from causing a public nuisance, including, but not limited to, strict adherence to the following:

a)      Building construction work hours shall be limited to between 7 a.m. and 6 p.m. Monday through Friday, and on Saturday from 7 a.m. to 6 p.m. for work that is not inherently noise-producing. Examples of work not permitted on Saturday are concrete and grout pours, roof nailing and activities of similar noise-producing nature. No work shall be permitted on Sundays and Federal Holidays (New Year’s Day, Memorial Day, July 4th, Labor Day, Thanksgiving Day, and Christmas Day) except as allowed for emergency work under the provisions of the Oceanside City Code Chapter 38 (Noise Ordinance).

b)      The construction site shall be kept reasonably free of construction debris as specified in Section 13.17 of the Oceanside City Code. Storage of debris in approved solid waste containers shall be considered compliance with this requirement. Small Amounts of construction debris may be stored on site in a neat, safe manner for short periods of time pending disposal.