Oceanside Building Division

Community Development Department

TO:	Project Planning

FROM:	Building Division

DATE:	Feb. 12, 2018

SUBJECT:	307 West St.

T18-00002       8 ATTACHED TOWNHOMES

BUILDING DIVISION CONDITIONS:

1)          The granting of approval under this action shall in no way relieve the applicant/project from compliance with all Current State and local building codes.

2016 Triennial Edition of California Code of Regulations (CCR), Title 24

The 2016 triennial edition of the California Code of Regulations, Title 24 (California Building Standards Code) applies to all occupancies that applied for a building permit on or after January 1, 2017, and remains in effect until the effective date of the 2019 triennial edition which will be January 1, 2020. The California Building Standards Commission website at

http://www.bsc.ca.gov/codes.aspx has links to where the codes can be viewed online as well as information on where the codes can be purchased; Parts 6, 11, and 12 can be directly downloaded for free.

There are 12 parts to Title 24 and the applicable parts for most Building Division permit applications are listed below.

- Part 2: The 2016 California Building Code (CBC).

- Part 2.5: The 2016 California Residential Code (CRC).

- Part 3: The 2016 California Electrical Code (CEC).

- Part 4: The 2016 California Mechanical Code (CMC).

- Part 5: The 2016 California Plumbing Code (CPC).

- Part 6: The 2016 California Energy Code

The 2016 CA Energy Code is based on the 2016 Building Energy Efficiency Standards, please visit the California Energy Commission website at http://www.energy.ca.gov/title24/2016standards/ where additional information can be found and Compliance manuals can be downloaded for free. Also check www.EnergyCodeAce.com for helpful information on how to meet the requirements of Title 24, Part 6.

- Part 9: The 2016 California Fire Code (CFC)

- Part 11: The 2016 California Green Building Standards Code (CALGreen Code) This Part is known as the California Green Building Standards Code, and it is intended that it shall also be known as the CALGreen Code.

- Amendments to the City of Oceanside Administrative Code for Building Regulations

2)      The building plans for this project are required by State law to be prepared by a licensed architect or engineer and must be in compliance with this requirement prior to submittal for building plan review.

3)      Compliance with the Federal Clean Water Act (BMP’s) shall be demonstrated on the plans.

5)      Separate/unique addresses may be required to facilitate utility releases.  Verification that the addresses have been properly assigned by the City’s Planning Division shall accompany the Building Permit application.

6)       A separate demo permit will be required from the Building Division for the removal of the existing building(s).

7)      A demolition permit application and plan submittal require documentation for construction waste management per 2016 CALGreen section 4.408 Construction Waste Reduction, Disposal and Recycling. Documentation must be provided and the plans must be clearly noted as to which method in section 4.408 will be used, see section 4.408.5 Documentation.

8)     Site development, parking, access into buildings and building interiors must comply with all current State of California Accessibility Code requirements.

9)     A form or foundation survey shall be required prior to the placement of concrete to show the location of the new structure in respect to the property lines, known easements, and known setback lines. By obtaining a form survey the location of the foundation is checked prior to the placement of concrete, and can save costly corrective measures in case of an encroachment of a property line.

10)    Electric vehicle (EV) charging for new construction. New construction shall comply with sec. 4.106.4.1 and 4.106.4.2 to facilitate future installation and use of EV chargers.  Electric vehicle supply equipment (EVSE) shall be installed in accordance  with California Electrical Code (CEC), Article 625.

One and Two Family Dwellings and Townhouses EV: CGBSC 4.106.4.1. Multifamily Dwellings EV: CGBSC 4.106.4.2.

11)    The 2016 CBC is the only source of plan review for accessibility requirements by the City of Oceanside Building Division for building plans/permit approvals; requirements for covered multifamily dwellings are based mainly on Chapter 11A Housing Accessibility.

12)      All electrical, communication, CATV, etc. service lines within the exterior lines of the property shall be underground (City Code Sec. 6.30).

13)      A complete set of Soil Reports, Structural Calculations, Energy Calculations, & California Title 24 Energy Form(s) shall be required at time of plans submittal to the Building Division for plan check.

14)  The 2016 California Energy Code requires rooftop solar zones.   The requirements for solar ready buildings are mandatory measures for newly constructed single family residences and low-rise multifamily residential buildings.  Plans must be submitted with the minimum required solar zones indicated on each required structure.  See: 2016 California Energy Code, Section 110.10 A-D.

The requirements for solar ready buildings are all mandatory, so there are no prescriptive and performance compliance paths. Since the provisions are mandatory, there are also no tradeoffs allowed, and applicants must demonstrate compliance with each measure.

15)      The developer shall monitor, supervise and control all building construction and supportive activities so as to prevent these activities from causing a public nuisance, including, but not limited to, strict adherence to the following:

a)      Building construction work hours shall be limited to between 7 a.m. and 6 p.m. Monday through Friday, and on Saturday from 7 a.m. to 6 p.m. for work that is not inherently noise-producing. Examples of work not permitted on Saturday are concrete and grout pours, roof nailing and activities of similar noise-producing nature. No work shall be permitted on Sundays and Federal Holidays (New Year’s Day, Memorial Day, July 4th, Labor Day, Thanksgiving Day, and Christmas Day) except as allowed for emergency work under the provisions of the Oceanside City Code Chapter 38 (Noise Ordinance).

b)      The construction site shall be kept reasonably free of construction debris as specified in Section 13.17 of the Oceanside City Code. Storage of debris in approved solid waste containers shall be considered compliance with this requirement. Small Amounts of construction debris may be stored on site in a neat, safe manner for short periods of time pending disposal.